SECTION 40 05 23.19 – BALL VALVES

- GENERAL

  - THE REQUIREMENT

    - The CONTRACTOR shall provide ball valves and appurtenances, complete and operable, in accordance with the Contract Documents.  Gate or plug valves will not be accepted as an alternative.

  - CONTRACTOR SUBMITTALS

    - The CONTRACTOR shall furnish manufacturer’s product data in accordance with MASS Section 10.05 Article 5.6.

- PRODUCTS

  - STAINLESS STEEL BALL VALVES

    - General:  Stainless steel ball valves shall be provided on all instrument lines unless otherwise indicated, sized to match the adjacent pipe or tubing.  Valves shall have lever actuators.

    - Construction:  Stainless steel ball valves shall have bodies of 316 SS with tube fitting ends or screwed ends as required, with a pressure rating of 800 psig minimum.

    - Manufacturers: Swagelok Series 40 or equal.

- EXECUTION

  - GENERAL

    - Care shall be taken so that valves in small diameter lines are well supported at each end of the valve.

END OF SECTION 40 05 23.19